CIM Emergency Team Lead

HORIZONTAL EVACUATION

PASSED FIRE DOORS

VERTICAL EVACUATION

HAVRE STRUCTURE RC LEVEL

Preparations for evacuation:

- Ensure CIM Emergency Floor Monitors are available and are preparing for evacuation.

If decision taken to evacuate before Code Green announced:

- Call CIM public address system 72-555 repeating twice: “Attention! Attention!” and provide the following information:

  - The evacuation order

  - Type of evacuation: Vertical or Horizontal

  - Location of assembly area - Havre (curving sculpture) by exiting at RC.

- Contact 55-555 to declare Code Green if a local decision was made to evacuate. Advise the operator of:

  - Site, Floor, Code Green and reason, Name and contact number.

If Code Green announced:

- If possible, communicate with Security at 55-555 for additional information (e.g., location and status of fire) and take action accordingly.

- Call 72-555 if additional evacuation instructions must be announced within the CIM.

At the assembly point:

- Proceed to the assembly point and gather information/update from the CIM Emergency Floor Monitors on evacuation status.

- Once the evacuation is complete, contact the Emergency Measures Coordination Center at 55-555 to advise of completed evacuation or of any missing persons, any persons refusing to leave, or could not be evacuated because of physical constraints.

- Advise CIM Emergency Floor Monitors when it is safe to return inside.

CIM Emergency Floor Monitor

HORIZONTAL EVACUATION

PASSED FIRE DOORS

VERTICAL EVACUATION

HAVRE STRUCTURE RC LEVEL

Preparations:

- Remind everyone of the assembly point location - Havre sculpture at RC level.

- Determine if there are any patients/visitors within the CIM:

- Add them to the personnel list

- Ensure someone is assigned to escort them to the assembly point.

Verification of designated area:

Go to each room of your assigned area:

- Inform staff members of code green status

- Inquire on the presence of any visitors

- Inquire about any need of assistance

- Direct people to the closest and safest emergency exit

- Close any medical gas.

- Affix Post-It on the door when verification complete.

- All evacuated and checked rooms are identified by Post-It.

- Take note of any individual that refuses to leave (name and room number).

At the assembly point

- Take a head count for your assigned area based on your personnel list (all CIM personnel, users, visitors, patients):

Head count number: ____________ Personnel missing: ______________

- Immediately report back to the CIM Emergency Team Lead your area is clear or of anyone missing, refusing to leave or could not be evacuated.

| Verification | CIM Personnel / User / Visitor List |
| --- | --- |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |

CIM Helpers

HORIZONTAL EVACUATION

PASSED FIRE DOORS

VERTICAL EVACUATION

HAVRE STRUCTURE RC LEVEL

- Remove all unnecessary equipment and supplies from the main corridor, place them in vacant rooms

- Provide assistance to evacuate personnel, patients, and/or visitors. If applicable identify yourself to patients and family and explain that they must evacuate for safety reasons. If necessary, call 72-555 or 55-555 for assistance.

- If assisting people to evacuate, proceed to assembly point and report to the CIM Emergency Floor Monitor.

| Verification | CIM Personnel / User / Visitor List |
| --- | --- |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |
| ☐ |  |